Flow cytometry protocol for Bd ploidy

Note: you should use two strains that frame the range of ploidy on each and every run you want to compare!

- Grow cells on 1%T petri dishes using standard techniques. For example transfer agar cubes (~ 2 mm per side) onto fresh media and flood dish with 1 ml H2O.

- After 2-5 days will be optimal harvest time, it will depend on strain and the freshness of inoculum.

- Add 2-3 ml H2O per dish, let sit for 10-30 minutes (combine 2-4 actively sporulating dishes).

- Pipette off H2O with zoospores and pass through a cell separator (45 um) to remove sporangia into a 50 ml Falcon.

- Transfer to a 15 ml Falcon

- Spin cells at 3.3 K in table top rotor for 6 mins at 25C.

- Quickly decant. Add 0.5 ml of 1X PBS.

- Take a 10 ul aliquot of spores and add 10 ul of EtOH. Count cells in haemocytometer. Count 5 medium squares for 5 x 0.004 ul = 0.02 ul total. Notes: don’t forget 2X dilution factor and dilute cells further if they are too dense.

- Dilute to 1.5 x 106 zoospores in 0.5 ml PBS in eppendorf

- Add 500 ul of 95% EtOH (cold) slowly

- Allow to site for 20 min.

- Pellet cells at 5 K in microfuge for 7 min.

- Invert and blot away all EtOH.

- Add 0.5 ml PI-RNAse (50 ug/ml PI, 100 ug / ml RNAse)

- Incubate 20 min at RT in dark.

- Transfer to BD tube.

- Keep in fridge in the dark until analysis.

- Measure 10,000 zoospores on a BD Biosciences FACSCalibur or similar instrument.